## Slide 1: Building Automation

## Slide 2: Intro
Building automation describes the advanced functionality provided by the control system of a building.
A building automation system (BAS) is an example of a distributed control system.
The control system is a computerized, intelligent network of electronic devices designed to monitor and control the mechanical, electronics, and lighting systems in a building.

## Slide 3: Topology
Primary & Secondary Bus:
  Low level or High Level Controllers
  Input / Output Devices
  Human Interface Device
  Wireless Network (can be ZigBee)
Input & Output
  Analog
    Variable Measurement
      Temperature, Humidity, and Pressure Sensor
  Digital
    Switch On or Off
      Photocell

## Slide 4: Structure of BAS

## Slide 5: Components of BAS
Controllers
  Programmable Logic Controllers
  System / Networks Controllers
  Terminal Unit Controllers
Occupancy
  Temperature Sensor
Lighting
  Photocell

## Slide 6: Components of BAS (Contd..)
Air Handlers
  Indoor Air Quality
  Demand Control Ventilation
Central Plant
  Chilled Water System
  Condenser Water System
  Hot Water System
Alarms and Security
  Fire and Smoke Alarm System

## Slide 7: Components of BAS

## Slide 8: Live Preview of BAS

## Slide 9: Why BAS?
Keeps the building climate within a specified range
Provides lighting based on an occupancy schedule
Monitors system performance and device failures
Provides malfunction alarms (via email and/or text notifications) to building engineering/maintenance staff
Reduces building energy and maintenance costs when compared to a non-controlled building.
A building controlled by a BAS is often referred to as an intelligent building or a smart home.

## Slide 10: Thank You!!!
www.playppt.com