## Slide 1: TRANSFORMER CONSTRUCTION
PRESENTED BY
K.SURESH
ASST . PROFESSOR

## Slide 2: TRANSFORMER MAINLY CONSIST OF
WINDING
CORE
TANK
INSULATIONS
TRANSFORMER OIL
BUSHINGS
CONSERVATOR
BREATHER
COOLING OF TRANSFORMER
BUCHHOLZ RELAY
OIL LEVEL INDICATOR
TEMP INDICATOR

## Slide 3: WINDINGS
Types of transformer windings are,
  CONCENTRIC
  SANDWICH
    Disc
    Cross over
    Helical

## Slide 4: CONCENTRIC COIL

## Slide 5: SANDWICH COI L

## Slide 6: TYPES OF SANDWICHED COILS

## Slide 7: CORE

## Slide 8: TYPES OF CORE

## Slide 9: TANK
MADE OF
STEEL AND ALUMINIUM
(power and traction transformers)
MILD STEEL AND ALUMINUM(BESIDE power and traction transformers)

## Slide 10: INSULATIONS
Dry type Transformers:
  Varnish
  Enamel
Large size Transformers:
  Unimpregnated paper
  Cloths
    Immersed in Transformer oil – insulation & coolent

## Slide 11: TRANSFORMER OIL
TRANSFORMER OIL SHOULD HAVE
INSULATING PROPERTY
VISCOSITY
PURITY
SLUDGE FORMATION
ACIDITY
HIGH FLASH POINT AND FIRE POINT

## Slide 12: BUSHINGS
BUSHINGS CONSIST OF
INSULATOR
ROD

## Slide 13: CONSERVATOR

## Slide 14: BREATHER

## Slide 15: COOLING OF TRANSFORMERS
Methods of cooling:
  Air Natural (AN)-upto 1.5MVA
  Air Blast (AB)
  Oil natural (ON) – Upto 10 MVA
  Oil Natural – Air Forced (ONAF)
  Oil Forced– Air Natural (OFAN) – 30 MVA
  Oil Forced– Air Forced (OFAF)
  Oil Natural – Water Forced (ONWF) – Power plants
  Oil Forced - Water Forced (OFWF) – Power plants

## Slide 16: BUCHHOLZ RELAY

## Slide 17: OIL LEVEL INDICATOR

## Slide 18: TEMP INDICATOR

## Slide 19: THREE PHASE TRANSFRMERS

## Slide 20: THREE PHASE TRANSFRMERS(1)

## Slide 21: THREE PHASE TRANSFRMERS(2)

## Slide 22: HISTORY OF TRANSFORMER
1885
William Stanley's First Transformer built in 1885

## Slide 23: 1885
William Stanley's First Transformer built in 1885

## Slide 24: 1885
Shell form transformer. Sketch used by Uppenborn to describe ZBD engineers' 1885 patents and earliest articles.

## Slide 25: 1886
Stanley's first transformer which was used in the electrification of Great Barrington, Massachusetts in 1886

## Slide 26: 1891
Transformer used on the Lauffen to Frankfurt demonstration line.

## Slide 27: 1891
Early three phase transformer (circular core type) Siemens and Halske company 5.7 kVA 1000/100 V

## Slide 28: 1895
1895 Air cooled transformers built by William Stanley for a three phase AC power station

## Slide 29: 1917
Large Westinghouse transformers from 1917 at the Hydro-power plant at Folsom, California

## Slide 30
www.playppt.com